## Sheet1
Count | Source | Model | Wavelength | Condition | Description
Fiber photometery equipment
2 | Thorlabs | M505F1 | 505nm | used | LED
1 | doric | CLED | 405nm | used | connectorized LED
1 | doric | LEDC1 | 560nm | used | FC LED
1 | doric | LEDC1 | 465nm | used | FC LED
2 | doric | CLED_465 | 465nm | new | connectorized LED with acessories
2 | doric | CLED_560 | 560nm | new | connectorized LED with acessories
3 | doric | FMC5 | E1(465-480) E2(555-570) F1(500-540) F2(580-680) | used | minicube
1 | doric | FMC5 | E1(465-480) E2(555-570) F1(500-540) F2(580-680) | used | minicube
1 | doric | FMC5 | E1(450-490) E2(550-580) F1(500-540) F2(600-680) | used | minicube
1 | doric | FMC4 | E1(460-490) F1(500-550) AE (405) | used | minicube
2 | doric | D490-1003 | visible | new | Femtowatt Photoreceiver
2 | doric | LEDB | n/a | new | Optical Breadboard for Connectorized LED
1 | doric | LEDD_2 | n/a | used | 2 Channel LED Driver for fiber photometry
Rodent stereotaxic surgery and injection equipment ¦ Neurophysiology Instrumentation
1 | HA | 70-4057 | n/a | used/like new | Harvard Apparatus Pump II Elite
1 | Kopf | 942 | n/a | used/like new | Kopf Model 942 Small Animal Stereotaxic Instrument with Digital Display
1 | HA | 55-7020 | n/a | used/like new | Harvard Apparatus Homeothermic Monitoring System
1 | TDT | WS4 | n/a | used/like new | Tucker Davis Technologies - WS4 with optical interface card (POE5)
1 | TDT | PZ5-32-2 | n/a | used/like new | Tucker Davis Technologies - PZ5 Flexible Amplifier 32 Channel Analog plus 2x Intan-based digitizing headstages
1 | TDT | RZ4 | n/a | never used | Tucker Davis Technologies - RV2 Video Tracker | come with TDT DPSV interface card and gigabit camera
1 | CED | 1401 | n/a | used | Cambridge Electronics Design Power3 1401 with break out BNC box and BNC cables
1 | AM-Systems | 3600 | n/a | used/like new | AM Systems - Model 3600 16-Channel Extracellular Amplifier
Rodent stereotaxic surgery and injection equipment ¦ Neurophysiology Instrumentation
1 | FLIR/Computar |  | n/s | used | gigabit camera and lens for pupilometry | https://www.edmundoptics.com/p/bfs-pge-04s2m-cs-poe-gige-blackflyr-s-monochrome-camera/40185/
Computar 4.5-12.5mm 1:1.2 1/2" Manual Iris CS-Mount Lens
images of some instrumentation can be viewed at webpage |  |  |  |  | CNS Website
please reach our to brian.harvey@neurophys-solutions.org to request photos of specfic equipment and asking price